## Slide 1: Chapter 4: The Physics of Radiography
By Daphne Laino and Danielle Roy

## Slide 2: The Physics of Radiography
Two basic types of x-ray imaging modalities: projection radiography and computed tomography
Neither modality involves radiation

## Slide 3: X-Rays
Discovered in 1895 by Roentgen while working with a Crooke’s tube
First radiograph was the hand of Roentgen’s wife
Marked the “birth” of medical imaging

## Slide 4: Ionization
Atoms consist of a nucleus having neutrons and protons, as well as an electron cloud
If the atom is excited enough (receives enough energy), it will release an electron, leaving behind a positively charged ion
Radiation that carries enough energy to cause ionization is called ionizing radiation
All other radiation = nonionizing radiation

## Slide 5: Electron Shells
Atoms have “shells” in which the electrons can be found. Higher level shells indicate higher energy electrons.
If an electron receives energy, it may go up an electron shell.
If an electron transfers energy, it may go down an electron shell.
If an electron receives enough energy to escape all electron shells, ionization occurs.

## Slide 6: Forms of Ionizing Radiation
Particulate Radiation
  Any subatomic particle can be considered to be ionizing radiation if it possesses enough kinetic energy to ionize an atom
Electromagnetic Radiation
  Radio waves, microwaves, IR light ,visible light, UV light, x-rays, gamma rays, etc.
Of Interest for Medical Imaging:
  X-rays, gamma rays, energetic electrons, positrons

## Slide 7: Photons and EM Waves
Light sometimes behaves as a particle, and sometimes as a wave.
When we are referring to its particle properties, we describe light in terms of photons.
When we are referring to its wave properties, we sometimes refer to them as electromagnetic waves.

## Slide 8: Nature and Properties of Ionizing Radiation
Effects of ionizing radiation generally fall into 2 broad categories:
  Effects used in imaging or that affect the imaging process
  Effects that are not used in imaging but contribute to dose – that is, they have biological consequences

## Slide 9: Particulate Radiation
Imaging
  Bremsstrahlung
  Characteristic radiation
  Positron annihilation
  Range
Dose
  Linear energy transfer
  Specific ionization

## Slide 10: Electromagnetic Radiation
Imaging
  Attenuation
  Photoelectric Effect
  Compton Scatter
  Characteristic Radiation
  Polyenergetic
Dose
  Air kerma
  Dose
  Dose equivalent
  Effective Dose
  F-Factor

## Slide 11: Attenuation of EM Radiation
Attenuation is the loss of a signal strength, in this case, a beam of electromagnetic radiation.
Strength can be measured in several different ways:
  Number of photons N in an x-ray burst over an area: photon fluence = Ф = N/A
  Photon fluence rate = φ = N/(AΔt)
  Energy fluence = Ψ = (Nħν)/A
  Energy fluence rate = ψ = (Nħν)/(AΔt)
  Energy fluence rate also known as intensity = I = Eφ