## Slide 1: Operation sequences in MLEM -- Debasis Mitra

## Slide 2
0
1-1
2
3
1-2
0: Pre-computation outside Forward or Back Projection: Unary Matrix row/col sum
1-1: Binary matrix mult of different dimensions (Forward Projection: sinogram->vol)
2: Binary element-wise matrix division
3: Binary matrix mult of different dimensions (Backprojection: vol->sinogram)
1-2. Binary element-wise matrix division
4. Binary element-wise matrix multiplication
4

## Slide 3
0
1-2
1-1
2-4
2-1
3
4
0: Pre-computation outside Forward or Back Projection: Unary Matrix row/col sum
1-1: Binary matrix mult of different dimensions (Forward Projection: sinogram->vol)
2-1: Binary element-wise matrix division
3: Binary matrix mult of different dimensions (Backprojection: vol->sinogram)
1-2: Unary matrix gradient operation (Total variation)
2-3. Binary element-wise matrix addition
2-4: Binary element-wise matrix division
4. Binary element-wise matrix multiplication
2-3

## Slide 4
0:
1-1:
2-1:
3:
1-2:
2-3:
1-2: j
4:
aij
aij
gi
Data flow architecture: Keep data as local as possible

## Slide 5
Binary, different dimensions, matrix multiplication
  gi = Σk Aik fk : j runs on 2Dxθ pixels, k runs on 3D voxels
  fk = Σi gi Aik
Binary, same dimensions, element-wise matrix addition
Binary, same dimensions, element-wise matrix multiplication
Binary, same dimensions, element-wise matrix division
Future/Hui: Binary, different dimensions (?), matrix convolution
Matrix operations to Parallelize:
Note: Aij will be in LBL-compressed format

## Slide 6: System Matrix Generation Parallelization: Ray-tracing
Input: (1) LBL Parameter text file
(2) UCSF parameter text files
Types: (1) Pinhole SPECT
(2) Parallel-hole SPECT
(3) CT
Code sources: (1) LBL-parallelhole CPU, (2) LBL-pinhole CPU,
(3) UCSF-Fares pinhole CPU,
(4) UCSF-Fares pinhole GPU, uses CSR compression of NVIDIA GPU default
(5) Muon Tomography-Richie Ray tracing CPU
Note: most codes use modified Forward Projection calls to generate System Matrix
System matrix (Aij):
Note: we use LBL compressed form for only non-zero elements
For each i,
Record non-zero j values in a line
The corresponding values next line